USB Drive Installation

1. Copy the usb_driver Drivers to a certain directory, such as: C:\ usb_driver.

2. Connect the USB to the computer, the Windows system will show finding a new hardware. Choose specific directory C:\ usb_driver according to the instruction.

3. After Driver installation, a new COM port will be added to the Ports in the Device Manager. Port number will be ranged following the primary COM ports, such as: COM3 or COM4.

4. Entry 9995 Application and choose the correct COM port. Communication can be start after pressing ON-LINE.